# Environmental Mitigation and Management Plan (EMMP):

Table 3: Environmental Mitigation and Management Plan (EMMP)

| Activity/Sub-Activity | Identified Environmental Aspects or Impacts | Mitigation Measure(s) | Monitoring Indicators | Responsibility | Reporting Frequency and timeline |
| --- | --- | --- | --- | --- | --- |
| REHABILITATION PHASE |  |  |  |  |  |
| a) Demolition and repair work | Occupational health safety (OHS) Risks to workers | Mandatory provision of PPEs to all workers. | Zero injuries in any month of Rehabilitation phase | Supervising engineer, health facility manger, and Contractor | Weekly spot checks during the rehabilitation period |
| b) Demolition and repair work | Injury to patients or healthcare workers by Rehabilitation activities | -Contractors will close off/prevent access to areas under rehabilitation. -Ensure good housekeeping and clean operations by immediate removal of rubble strewn outside construction areas. -Construction workers will limit verbal noise or other forms of noise during renovation works inside medical buildings -Contractors will use screens or nets to avoid flying debris and dust. -selecting work time other than the health facility normal working time. | Zero injuries in any month of Rehabilitation phase | Supervising engineer, health facility manger, and Contractor | Weekly spot checks during the rehabilitation period |
| c) Demolition and repair work | Indoor air quality deterioration due to dust | -Contractors will use dust screens or nets in windows, doorways and ventilators of rooms where demolition or other dusty construction activities are occurring. - selecting work time other than the health facility normal working time. | No complaints about excessive dust from construction areas (this should be verified by perusal of records in complaints log) | Supervising engineer, health facility manger, and Contractor | Weekly spot checks during the rehabilitation period |
| d) Demolition and repair work | Improper management of demolition (and general construction) waste | -Contractors will undertake waste segregation at source to separate hazardous from non-hazardous waste. -Waste (such as metal scrap or wood waste) that can be reused/ recycled may be given to local people. -Seek guidance of local environmental officers to identify acceptable disposal sites. -Supervising engineers and health facilities managers will ensure that contractors do not illegally dump waste in non-designated areas. | -Contractor has records of proper waste disposal indicating quantities dumped and location of dumping site, -Separate containers on site for hazardous and non-hazardous waste. -Record of material types and estimated quantity diverted for reuse -No complaint of waste dumped illegally in non-designated sites | Supervising engineer, health facility manger, and Contractor | Weekly spot checks during the rehabilitation period |
| e) Demolition and repair work | Temporary disruption of healthcare services | -Plan pre-construction activities early to identify suitable rooms or adjoining buildings into which to relocate patients or service areas with minimal inconvenience. - Select work time other than the health facility normal working time. | A written pre-construction plan available on site to re-arrange service areas so as to minimize disruption of healthcare operations and evidence of compliance with it. | Supervising engineer, health facility manager, and Contractor | Weekly spot checks during the rehabilitation period |

# ENVIRONMENTAL MITIGATION AND MANAGEMENT PLAN (EMMP)

Table 1: The Medical Waste Zone Project Environmental Mitigation and Management Plan (EMMP):

| Construction Phase of the Medical Waste Zone (including incinerator) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | Occupational health safety (OHS) Risks to workers | Provide PPE to all workers | Zero injuries in any month of Construction phase | Supervising engineer, health facility manger, and Contractor | Weekly safety audits will be conducted |
|  | Injury to patients or healthcare workers by Construction activities | -Contractors will close off/prevent access to areas under construction. -Ensure good housekeeping and clean operations by immediate removal of rubble strewn outside construction areas. -Construction workers will limit verbal noise or other forms of noise during renovation works inside medical buildings -Contractors will use screens or nets to avoid flying debris and dust. -selecting work time other than the health facility normal working time. | Zero injuries in any month of Construction phase | Supervising engineer, health facility manger, and Contractor | Bi -weekly monitoring reports will be submitted during construction |
|  | Air quality deterioration due to dust | - selecting work time other than the health facility normal working time. | No complaints about excessive dust from construction areas (this will be verified by perusal of records in complaints log) | Supervising engineer, health facility manger, and Contractor | Bi -weekly monitoring reports will be submitted during construction |
| d | Improper management of demolition (and general construction) waste | -Contractor will undertake waste segregation at source to separate hazardous from non-hazardous waste. -Waste (such as metal scrap or wood waste) that can be reused/ recycled may be given to local people. -Seek guidance of local environmental officers to identify acceptable disposal sites. -Supervising engineers and health facilities managers should ensure that contractors do not illegally dump waste in non-designated areas. | -Contractor has records of proper waste disposal indicating quantities dumped and location of dumping site, -Separate containers on site for hazardous and non-hazardous waste. -Record of material types and estimated quantity diverted for reuse -No complaint of waste dumped illegally in non-designated sites | Supervising engineer, health facility manger, and Contractor | Bi -weekly monitoring reports will be submitted during construction |
|  | Temporary disruption of healthcare services | -Plan pre-construction activities early to identify suitable rooms or adjoining buildings into which to relocate patients or service areas with minimal inconvenience. - Select work time other than the health facility normal working time. | A written pre-construction plan available on site to re-arrange service areas so as to minimize disruption of healthcare operations and evidence of compliance with it. | Supervising engineer, health facility manger, and Contractor | Bi- weekly monitoring reports will be submitted during construction |