Annex B

PR#PR260707

Statement of Work: AlThawbini Water Project Rehabilitation

Location: AlThawbini Community, Al-Mashalaha Sub-district, Mocha District, Taiz Governorate

Description:

- The selected contractor will complete all works necessary to rehabilitate the Water project in  Hasse Salem water project  per the BOQs and drawings and according to the instructions of the supervising engineer from Samaritan’s Purse. The key activities are:

  - Solar-Powered System.

  - Const. of Concrete Ground Tank 100 m3.

  - Supply and Installing of Pumping line 4inch

  - Water network.

  - Construction Pumping Room and Protection stone wall for well Works.

  - Rehab. of Stone Tank.

Timeline Requirements:

- The contractor will be held to the quoted timeline submitted as part of Annex F. The timeline will begin from site handover and the project must be completed within the quoted time.

- A one-week grace period may be granted based on needs.

- The contractor is required to submit a weekly progress report to Samaritan’s Purse based on the implementation plan provided as part of Annex F.

Payment Plan:

- Project will be paid in installments per the below:

- 90% of the total contract value will be paid upon 100% completion of ALL BOQs(A,B,C,D,E ,F).

- 10% will be withheld for one year after final site handover for the warranty period.

Site Visit

- A site visit with Annex I signed and stamped by the community committee is required to submit a quote. Please find relevant information in the tables below.

| Location | GPS Coordinates |
| --- | --- |
| AlThawbini Community | 13°17'32.70"N 43°26'39.39"E |
| Proposed Concrete Ground Tank Location | 13°17'26.74"N 43°27'12.43"E |
| Pumping room and Solarization system Location | 13°21'37.13"N 43°28'36.58"E |

| Local Point of Contact | Phone Number |
| --- | --- |
| Mukhtar Abdullah Sulaiman Salem | 734482357, 774431935, 771175386 |

Contract and BOQs

- No changes to the BOQs shall be made or additional works authorized without written approval from the organization and the contractor.

- Daily workers for the project should be hired from the local community.

All documents listed in Annex A must be submitted in the bid.

Stamp