## Financial Sheet
Annex B BOQs Attached Financial-Sheet-ITB- FMF-ADE-200108-2026
اتفاقية تأهيل وصيانة المرافق الصحية المستهدفة في محافظات الحديدة والضالع وأبين، وتشمل مركز حماية المرأة والفتاة (WGCC) وغرفة المساحة الآمنة للنساء والفتيات (WGSS) – طلب شراء رقم: ITB/ FMF/ADE/200108/2026 Agreement for Rehabilitation and Maintenance of Targeted Health Facilities in Al Hudaydah, Al-Dhale'e and Abyan Governorates, including the WGCC Protection Centre and WGSS Room – PR No.: ITB/ FMF/ADE/200108/2026
About the Field Medical Foundation: The Field Medical Foundation is a comprehensive community-based, non-profit, developmental organization that seeks to pioneer in humanitarian action through its health, relief, and development services, which aims to improve community health and build capacity through projects and services provided with high-quality and high credibility. | [5 empty] | نبذة عن المؤسسة الطبية الميدانية : المؤسسة الطبية الميدانية مؤسسة غير ربحية مجتمعية تنموية شاملة تسعى ان تكون رائدة في العمل الإنساني و ذلك عبر خدماتها الصحية و الإغاثية و التنموية و التي تهدف إلى تحسين صحة المجتمع وبناء القدرات من خلال المشاريع و الخدمات المقدمة ذات الجودة و المصداقية العالية .
Tender no(s): رقم العطاء | ITB- FMF-ADE-200108-2026 |  |  |  |  | Bid date : تاريخ العطاء : |  |  | 27/07/2026
[6 empty] | تاريخ تسليم العطاء من قبل المورد : Bid submission date |  |  | 10/08/2026
SUPPLIER Information : | [5 empty] | For any Informayion : FMF
Company name / Treding name الاسم التجاري / اسم الشركة | [5 empty] | Contact name الاسم : |  | Mohammed Ahmed
Contact person الشخص الذي يمكن الاتصال به | [5 empty] | E-mail/ البريد |  | operation.dept@fmfyemen.org
E-mail/ البريد | [5 empty] | Phone / هاتف |  | 02-233460 / 103 773072646
Phone/ هاتف
Mobile/ موبايل | [5 empty] | Address/العنوان |  | الجمهورية اليمنية- محافظة عدن- خور مكسر-ساحل ابين -مقابل رئاسة جامعة عدن
Address/العنوان
items required by Supplier:
Important notes: -The contractor must visit the site before bidding and study the environment and the contractor is responsible for that. -The contractor must commit to providing safety tools for all workers present in the work area, while committing to bear responsibility for any injuries that occur at the work site. -The contractor must finish the rehabilitation worksdays from the site handover. -The contractor must provide technical specification -All Measurements are taken as per engineering codes and all openings are deducted. -Both Languages are obligated for the contractors. -Safety precautions to protect children, neighbor utilizes and community. -All required Tests should be accommodated by an approved lab. |  |  | ملاحظات هامة: -على المقاول المتقدم في العطاء زيارة الموقع قبل البدء في دراسة العطاء وتقديم العرض ودراسة جميع الظروف المحيطة بالمنشأة والمؤثرة على الأعمال مثل طرق إيصال المواد اللازمة للإنشاء ودراسة طريقة ووسيلة تسوية الموقع العام إن لزم ويتحمل المقاول كامل المسؤولية. - على المقاول الالتزام بتوفير ادوات السلامة لكافة العمال المتوجودين في منطقة العمل مع الالتزام بتحمل مسؤلية عن اي اصابات تحدث في موقع العمل - الإلتزام بأن لاتتعدى مدة التنفيذ للعمل وتسليمه يوم تحسب من تاريخ تسليم الموقع. - إرفاق العروض بمواصفات فنية تفصيلية لجميع المواد -القياس المعتمد هو القياس الهندسي و تخصم كافة الفتحات. - كلا اللغتين العربية والانجليزية ملزمة للمقاول وبحسب تعليمات المهندس. - على المقاول اتخاذ جميع إجراءات السلامة اللازمة لحماية الأطفال و الجار و المجتمع. - على المقاول اجراء جميع الاختبارات المطلوبة يجب أن تكون معتمدة من مختبر معتمد.
Currency : All items must be in US Dollars |  |  |  |  | العملة: يتم تسعير الأصناف بالدولار الأمريكي
Line item no. | Description | specification | Unit | Qty | price per unit |  | Total price |  | Remarks
1 | Rehabilitation of Health facilities in Al-Dhala'e Governorate | All specifications are as per attached BoQs | LUMPSUM | 1
2 | Rehabilitation of Health facilities in Al Hudydah Governorate | All specifications are as per attached BoQs | LUMPSUM | 1
3 | Rehabilitation of Health facilities in Abyen Governorate | All specifications are as per attached BoQs | LUMPSUM | 1
Total |  |  |  |  | 0
Name of authorized representative of the Supplier:
Signature and Stamp:
Please provide last 3 references : |  |  | Phone Num: |  |  |  |  | Email :
Reference 1:
Reference 2:
Reference 3:

## Guidance (hidden)
Form Guidance
The Request for Quotation is a form that is given to suppliers to ask them to provide price and other required information to bid to supply the goods and services required by Save the Children. Clear information on the specifcation and other requirements should be provided to the suppliers to enable them to quote. It is not critical for suppliers to use this form, however it can be useful in many circumstances.
Header | Explanation
PR no. | Reference to original procurement request number. Multiple numbers can be listed here if the procurement has beene consolidated
Date RFQ sent out | Date RFQs sent / given to prospective bidders
Date quotation due back | Advise the suppliers here of the date that you expect them to submit quotes by. This should include enough time for them to complete it.
Procurement person responsible | List here the person who is managing the procurement, so that if quotes are returned to Reception, they know who to give them to
Supplier | Fill out the supplier name that you are giving this copy of the RFQ to
Supplier contact details | The supplier can fill out their own contact details
Return quotation to | Complete the details of where the suppliers should send / hand in their quotations
Date items required by | Inform the supplier of the delivery deadline for the items being quoted for
Delivery address | Indicate here where the supplier will have to deliver the items (if appropriate) if they win the bid
Delivery method | If applicable, the supplier can be advised how the items should be freighted
Payment terms | Instruct the supplier of the payment terms that you will be using for this order. Please note SC policy does not allow advance payments unless in exceptional circumstances.
Line item | Line item of the goods
Description of Goods / Services | Description of item and any specifications required. Indicate all information on the technical specification of the goods. If the description of the goods requires a longer specification to be provided in order for suppliers to be able to quote properly, indicate 'attached' here and attach the spec to the RFQ
Unit | Standard unit of distribution, ie. Kit, piece, book, roll, box, packet of 100g, tablet, bottle, jar vial etc
Quantity required | Number of units required
Unit Price | Leave blank for supplier to put their price per unit in
Total price | Leave blank for supplier to put their total price
Availability date | Leave blank for supplier to confirm if they can meet the required availability date for the goods
Sales tax & delivery charge | Supplier should also add these if appropriate
Additional information required from supplier | The Procurement Team should write here any additional questions that they would like the suppliers to answer to show that they provide value for money. The criteria of purchase that the programme have written on the PR can be used to draft these questions. For example: - How long is the quote valid for? - What goods are in stock? - What quality standards are used?
Supplier confirmation of offer | The supplier should sign and stamp the form to confirm that their offer is bonafide and that they accept the terms and conditions on the back
The Terms and Conditions of Purchase should be sent to the supplier, on the back of the RFQ or as a separate document attached.

## Example (hidden)
SAVE THE CHILDREN | [6 empty] | REQUEST FOR QUOTATION
Save the Children is an international Non-Governmental Organisation working to create lasting and positive change in the lives of children in need. We kindly request your best quotation for the below items. THIS IS NOT A PURCHASE ORDER. Should a purchase order be placed subsequent to this quotation, the terms and conditions of purchase on the back of this document will apply. Save the Children may, unless the supplier expressly stipulates to the contrary, accept whatever part of the offer that we so wish.
PR no(s): | PR/JAC/2012/004 |  | Date RFQ sent out: |  | 2012-09-13
| PR/JAC/2012/006 |  | Date quotation due back: |  | 2012-09-20
|  |  | Procurement person responsible: |  | G. Philora
SUPPLIER NAME: Stationary Express |  |  | RETURN QUOTATION TO: SAVE THE CHILDREN
Contact name | Mr. Laplune |  | Contact name | G. Philora
E-mail |  |  | E-mail | gurmeet.philora@savethechildren.org
Phone |  |  | Phone | +509 0000000
Fax |  |  | Fax | +509 0000001
Mobile |  |  | Mobile | +509 0000002
Address |  |  | Address | Building no. 1, Jacmel
Date items required by: |  | 2012-09-30
Delivery address: |  | Building no. 1 Jacmel
Delivery method (if applicable): |  | Sea & inland transport
Payment terms: |  | 30 days
For supplier to fill in:
Line item no. | Description of Goods / Services (add attachment for technical specification if very detailed) | Unit / Form | Quantity required | Currency | Unit Price | Total Price | Availability date
1 | Book, exercise, A4 | pce | 15
2 | Pen, ballpoint, blue | box of 20 | 10
3 | Flipchart paper | pad | 12
4 | Paper A4 | ream | 20
5 | Notepad, A5 | pce | 20
6 | Paper clips | box | 10
Add more lines to the RFQ if required |  |  |  |  | Subtotal
Sales tax (if applicable)
Delivery charge (if applicable)
Other charges (if applicable)
Additional information required from supplier: |  |  |  |  | TOTAL
[1] Quote validity period
[2] Packed weights & dimensions of goods
[3] Alternatives for any goods not able to supply
[4] Provide samples of paper quality
Supplier confirmation of offer |  |  | Supplier stamp
Name
Title
Signature