## Annex
Components |  | Provided Specifications by the Contractor (Mandatory) | Catalogue Attached
|  |  | Attached | Not Attached
Steel casing pipes | Brand Name
Manufacturing Country
Technical Specification
Thikness (mm)
Submersible pump | Brand Name
Model
Manufacturing Country
Discharge
Total Head
Pump efficiency
Pump speed
External pump diameter
Power
Submersible motor | Brand Name
Model
Manufacturing Country
Power of Motor
Motor speed
Motor efficiency
Temperature
Materials used in manufacturing
Rewindable of Motor
Diameter of motor
Inverter | Brand Name
Model
Manufacturing Country
Operating system
Power of the inverter
Efficiency of the Inverter
Voltage system
UPVC Pipes (Rising pipes) | Brand Name
Model
Manufacturing Country
Classification
Number of pipes
Length of the pipe
Diameter of the pipe
Pressure
Type of the pipe
Thickness
Circuit breaker | Brand Name
Model
Manufacturing Country
Rated Current (A)
Breaking Capacity (kA)
Adjustable Long-Time/Short-Time Settings
Manual Changeover Switch / ATS | Brand Name
Model
Manufacturing Country
Rated Current (A)
Switching Type (I–0–II)
Protection Box Material
Brand Name
Submersible cables "H07RN-F" | Type of the Cable
Manufacturing Country
Number of Cores
Rated Voltage (e.g., 450/750 V)
Insulation & Sheath Material (Rubber – Neoprene)
Cable Diameter (mm2)
Sensitive Cable with Electrode: | Brand Name
Manufacturing Country
Material
Insulation
Electrode Type
Durability
Signal Integrity
Temperature Range
Gate Valve | Diameter:
Connection type: flanges/threads/others
Type
Manufacturing
Material of gate valve
Standard
Working pressure (bar)
Air valve | Diameter:
Connection type: flanges/threads/others
Type
Manufacturing
Material of gate valve
Standard
Working pressure (bar)
Earthing system system | Type
Model
Manufacturing
Doors and windows iron (Sections) | Brand Name
Manufacturing Country
Technical Specification
Cement | Brand Name
Manufacturing Country
Technical Specification
Steel bars | Brand Name
Manufacturing
Technical Specification
Painting | Brand Name
Manufacturing Country
Technical Specification
LED Lights | Brand Name
Manufacturing Country
Technical Specification
Power Outlets and light switches | Brand Name
Manufacturing Country
Technical Specification
Electrical work accessories (Cables-Trunky pipes- Wires-Panels-Boxes-Breaker) | Type
Model
Manufacturing
Annex H
Technical specification
Important Note: This list is not considered comprehensive of all items and requirements for the Bill of Quantities of the project, but rather a guideline and an example for writing and listing all required specifications thus, the rest of the items are filled in this table in the same way as mentioned.
ملحوظة هامة: هذه القائمة لا تعتبر شاملة لجميع البنود والمتطلبات الخاصة بجدول الكميات للمشروع بل هي دليل ومثال لكتابة وحصر كافة المواصفات المطلوبة وبالتالي يتم تعبئة وتكييف باقي البنود في هذا الجدول بنفس الطريقة المذكورة.
Removable Part: Company/Contractor Master Header & stamp and signature
Project Name: Al-Rumaila Well No.(1) Deepening and Rehabilitation