## Ambulance Car
Technical specifications For Technical Specifications Tables for (Ambulance Car)
No. | Technical Specifications | Min MOH Requirement | Bidders Offer | Notes
AMC-1 | Item Description | Ambulance Car With Medical Devices and Supplies
Qty |  | 2
No. | Technical Specifications | Min MOH Requirement | Bidders Offer | Notes
1 | Manufacturer: | Please specify manufacturer and country of origin
2 | Model Number: | Please specify model number of the offered equipment
3 | Country of origin | Please specify
3 | Safety Standard: | Product circulation certificate in Europe Union,United States of America , Canada, Japan and Australia.
4 | Design & Features:
5 |  | Compact , heavy duty and high quality
5.1 |  | AC / Climate control
5.2 |  | Steering wheel adjust (rake / reach)
5.3 |  | Cassette /radio
5.4 |  | Fog lamps
5.5 |  | Body-coloured bumpers
5.6 |  | Rear AC vents
5.7 |  | CD / MP3 player
5.8 |  | The siren shall be operated from the driver’s compartment having a general switch button and
5.9 |  | one that permits changing between three tones (Hi-lo, Yelp and Wail). It will include a high
5.1 |  | short acting alert signal operated only while a button is pressed (horn). The power of the siren
5.11 |  | will be minimum 100 W.
6 | Engine & Transmission:
6.1 | Engine displacement (not less than): | 4500-4700cc
6.2 | Power (BHP): | state
6.3 | Fuel Type: | pealse specify (Benzine Or Desial)
6.4 | No. of Gears: | 5/M
6.5 | Cylinders: | 6
7 | Safety:
7.1 |  | ABS
7.2 |  | 2 Airbags
8 | Breaks:
8.1 |  | An anti-lock braking (ABS) system must be fitted.
9 | Electrical installation:
9.1 |  | 12V sockets for medical device in patient’s compartment - minimum 6-8
9.2 |  | All circuits within the patient’s compartment shall have separate fuses or circuit breakers readily available.
9.3 |  | The fuses or circuit- breakers shall be clearly marked and the function of each circuit clearly identified.
9.4 |  | There shall be at least two circuits so that failure in one circuit does not cut off all lights or connected medical devices.
10 | Interior lighting:
10.1 |  | Patient’s compartment lighting (natural colour balance lighting):
10.2 | Patient area: | minimum 300 lx Or Better
10.3 | Surrounding area: | minimum 50 lx
11 | Patient’s compartment:
11.1 |  | The patient’s compartment shall be designed and constructed to accommodate the medical
11.2 |  | devices listed at chapter (Medical Equipment).
11.3 |  | The ceiling, the interior sidewalls and the doors of the patients compartment shall be fully lined, they have to be made of washable materials.
11.4 |  | The compartment of the emergency ambulance shall be so conceived so that one or more persons
11.5 |  | can work around the incubator comfortably in full upright position.
11.6 |  | The edges of surfaces shall be designed and/or sealed in such a way that no fluid can infiltrate.
11.7 |  | If the floor arrangement does not allow fluids to flow away, one or more drain with plugs shall be provided.
11.8 |  | Open shelves shall be constructed with rounded edges. Drawers shall be secured against selfopening.
11.9 |  | Emergency ambulances shall be equipped with a lockable drugs compartment with security lock.
11.1 |  | Type emergency ambulances shall be fitted with one or more handholding device positioned above the stretcher along the longitudinal axis.
11.11 |  | Emergency Medicine cupborad in the car
12 | Managing of Life-Threatening Problems:
12.1 | Life support Supplies:-
12.1.1 |  | 10 X Alcohol Prep Pads
12.1.2 |  | 10 X Antibiotic Ointments
12.1.3 |  | 01 X Bee Sting Kit
12.1.4 |  | 01 X Eye Wash , 4 oz
12.1.5 |  | 01 X No - Rinse Hand Gel
12.1.6 |  | 05 XPairs of Nitrile , Powder - Free
12.1.7 |  | 10 X PVP lodine Wipes
12.1.8 |  | 01 X lpecac syrup , 30 ml "pkt"
13 | Medical Equipments:
13.1 |  | Blood Glucose Monitor "Glucometer" with 50 pcs of tests strips (With Rechargable Battery)
13.2 |  | Suction pump portable unit light duty , DC/AC
13.3 |  | Defilbrillator Portable for Emergency Montoring ECG.Rrecording ,pluse Oxymeter (With Rechargable Battery)
13.4 |  | Paitent Monitor With Wall Mount (With Rechargable Battery)
14 | Suture instruments and dressing set "contents" (X by 10 set):
14.1 |  | 02 X Forceps Artery Kocher COF BJ.S/S 180mm
14.2 |  | 01 XForceps Dissecting Bonney's 1 × 2 Teeth S/S 150 mm
14.3 |  | 01 X Forceps Dissecting Plain serrated jaws S/S 150 mm
14.4 |  | 02 X Forceps Dressing Bryants serrated jaws S/S 125 mm
14.5 |  | 02 X Forcep Sponge Holding Rampley BJ S/S 240 mm
14.6 |  | 02 X Forceps Towel Holding cross Action S/S 100 mm
14.7 |  | 01 X Handle size 3 for Scalple blades size 10- 15
14.8 |  | 01 X Needle Holder Kilner's 165 mm
14.9 |  | 01 X Scissors Iris striaght , Sharp points 115 mm
14.1 |  | 01 X Scissors Mayo Straight SJ. S/S 200 mm
14.11 |  | 02 X Gallipot / Cup S/S 180 ml
14.12 |  | 01 X Tray Instrument with Lid 225 × 125 × 50 mm Deep
14.13 |  | 02 X Tray Kidney shape with Lid S/S 200 × 30 mm
14.14 |  | 01 X Sterilizer box with lid 300 × 130 ×60 mm deep
14.15 |  | 1 X Splint Cramers metal wire 1000x120 mm
14.16 |  | 1 X Splint Cramers metal wire 600x80 mm
14.17 |  | 1 X Splint Cramers metal wire 800x100 mm
15 | Patient carrying & Immobilization devices ( ambulance-Cot Roll-in type ):
15.1 |  | 1 X Long backboards
15.2 |  | 1 X Flexible (Scoop) stretcher
15.3 |  | 1 X Stertcher folding
15.4 |  | 1 X Extrication collars
15.5 |  | 1 X Flexible spinal immobilization device
15.6 |  | 1 X Head immobilization device
16 | Action wall-interior:
16.1 |  | 3 X Bag-valve-mask with tubing
16.2 |  | 1 X Suction onboard/test at 300 mm Hg
16.3 |  | 10 X Yankauer tip and tubing
16.4 |  | 1 X Oxygen regulator – wall
16.5 |  | 2 X Onboard oxygen - 500 psi minimum
16.6 |  | Pack. 50 X Latex gloves-small/medium/large/extra large
16.7 |  | Pack. 50 X Nonlatex gloves-small/medium/large/extra large
16.8 |  | 2 X Penlight
17 | Vital signs supplies:
17.1 |  | 1 X Sphyg-Mercurial 300 mm/HG Adult armband in box
17.1.1 |  | 1 X Blood pressure cuff – adult
17.1.2 |  | 1 X Blood pressure cuff - large adult
17.2 |  | 1 X Stethoscope/bell and diaphragm
17.3 |  | 1 X Trauma scissors
18 | Airway supplice:
18.1 |  | 10 X Suction tubing
18.2 |  | 10 X Suction canisters
18.3 |  | 10 X Yankauer tips
18.4 |  | 5 X Cups for sterile water
18.5 |  | Set of Nasopharyngeal airways (2 each) size 24, 26, 28, 30,32,34
18.6 |  | Set of Oropharngeal airways (2 each) size 04,06,08
18.7 |  | 1 x Emesis basins
18.8 |  | 1 x One disposable package soluble lubricant per nasal airway1 lpecac syrup , 30 ml
19 | Brcathing supplies:
19.1 |  | 2 X Adult bag-valve-mask with tubing
19.2 |  | 2 X Facemask-small adult
19.3 |  | 2 X Facemask-adult
19.4 |  | 2 X Facemask-large adult
19.5 |  | 2 X Flow-restricted oxygen-powered ventilation device
19.6 |  | 2 X Non-rebreather masks
19.7 |  | 4 X Nasal cannula
19.8 |  | 2 X Oxygen humidifier
20 | Bandages & Dressings:
20.1 |  | Sterile Bandeges & dressings:
20.1.1 |  | 50 X Bandages , Adhesive , 25× 75 mm
20.1.2 |  | 1 X Bandage, Elastic , 75 mm
20.1.3 |  | 1 X Bandage, Elastic , 100 mm
20.1.4 |  | 2 X Bandage , Gauze , 75 mm
20.1.5 |  | 2 X Bandage , Gauze , 100 mm
20.1.6 |  | 2 X Bandage , Triangular Bandages
20.1.7 |  | 1 X Dressing , Multi - Trauma , 300 × 750 mm
20.1.8 |  | 10 X 2 x 2 dressings
20.1.9 |  | 10 X 4 x 4 dressings
20.1.10 |  | 10 X 5 x 9 dressings
20.1.11 |  | 10 X Ace bandages
21 | Clean bandages:
21.1 |  | 10 X Gauze dressings
21.2 |  | 2 X Gauze roller 2-inch
21.3 |  | 2 X Gauze roller 4-inch
21.4 |  | 2 X Gauze roller 6-inch
21.5 |  | 2 X Kerlix roller 6-inch
21.6 |  | 2 X Tape 1-inch
21.7 |  | 2 X Tape 2-inch
21.8 |  | 2 X Tape 3-inch
22 | Compress:
22.1 |  | Binder bandage
23 | Major wound dressing:
23.1 |  | 10 X Trauma/universal dressing
23.2 |  | 10 X Aluminum foil-nonsterile
23.3 |  | 2 X Sterile water -1,000 cc
23.4 |  | 2 X Tape 4-inch
24 | Fracture management:
24.1 |  | 1 X Trauma scissors
24.2 |  | 1 X Sports “shark" cutting tool
24.3 |  | 1 X Cravats
24.4 |  | 1 X Ice packs
24.5 |  | 2 X Tape 1-inch
24.6 |  | 2 X Tape 2-inch
24.7 |  | 2 X Tape 3-inch
25 | Splints:
25.1 |  | 2 X arm short splint
25.2 |  | 2 X Prefabricated leg short splint
25.3 |  | 2 X Prefabricated leg long splint
25.4 |  | 2 X Ladder splint
25.5 |  | 2 X Padded board splint-short
25.6 |  | 2 X Padded board splint-medium
25.7 |  | 2 X Padded board splint-long
25.8 |  | 2 X Unipolar traction splint
25.9 |  | 2 X Bipolar traction splint
26 | Side compartment - back:
26.1 |  | 2 X Stiff Cervical collar – no neck/XS
26.2 |  | 2 X Stiff Cervical collar – short
26.3 |  | 2 X Stiff Cervical collar – regular
26.4 |  | 2 X Stiff Cervical collar – tall
26.5 |  | 2 X Stiff Cervical collar –universal
27 |  | Rescue and protection material:
27.1 |  | 2 X Warning triangle/light
27.2 |  | 1 X Rechargeable portable spotlight
27.3 |  | 2 X Fire extinguisher
27.4 |  | 2 X Fluorescent vests with reflective strips
27.5 |  | 1 X Emergency lamp twin fluorescent rechargable unit DC/AC/spare lamp /battery
28 | Maintenance:
28.1 |  | 2 year free maintenace, including , Service manual Operation manual {Hardcopy & Softcopy}
29 | Power supply:
29.1 |  | 12V sockets for medical device in patient’s compartment
30 | Other specification | Please specify other specification