## Annex_2_Technical_Offer
NO# | Part A: Medical Supplies | UoM | Quantity | Country of Origin | Manufacturer (Brand) | Expiry Date | Bidder's additional Specification orSDeviations in Description or Package
1 | 7.2.2- Adhesive wound dressing 10*10 | Pack - 50PCs | 186
2 | 7.2.2- Alcohol hand rub sanitizer,5 liter | Btl | 414
3 | 7.2.2- Dengue fever test | Pack-25 | 90
4 | 7.2.2- Distilled water 5 liter | btl | 174
5 | 7.2.2- ECG paper thermal rolls, unprinted, 57 mm x 9 m 12 mm | roll | 204
6 | 7.2.2- Gauze roll large | Roll | 132
7 | 7.2.2- Gloves, examination, latex, size Lrage, pre-powdered, disposable, non-sterile | Box/100PCs | 798
8 | 7.2.2- Glucometer CHECK strips (CERA-CHEK) | Pack-50strips | 120
9 | 7.2.2- Hand Gel Sanitizer, 500 ml | Bottle | 1128
10 | 7.2.2- Helicobacter Pylori Ab test (Blood test) | Pkt-25 | 114
11 | 7.2.2- Helicobacter Pylori Ab test (Stool test) | Pkt-25 | 114
12 | 7.2.2- Hemo CHEK strip (CERA-CHEK Hb Plus) | Pack-50strips | 156
13 | 7.2.2- Hemoglobin tube for Sahli hemoglobinometer manual device | tube | 72
14 | 7.2.2- Medical oxygen mask adult | pcs | 936
15 | 7.2.2- Medical oxygen mask child | pcs | 1086
16 | 7.2.2- Needle, suture, 1/2 circle, 19 mm, cutting bodied, silk , 3/0 | Box-12 pc | 102
17 | 7.2.2- Needle, suture, 1/2 circle, 19 mm, cutting bodied, silk , 4/0 | Box-12 pc | 102
18 | 7.2.2- Pipette 1ml | pcs | 72
19 | 7.2.2- Pipette 2ml | pcs | 72
20 | 7.2.2- Pipette 4ml | pcs | 72
21 | 7.2.2- Pipette 6ml | pcs | 72
22 | 7.2.2- Plastic page size 9 (1*100) | Bundle | 426
23 | 7.2.2- Plastic Sachets for drug dispensary, writable, 100pcs/Pack | Bundle | 474
24 | 7.2.2- Plastic urine tubes (conical) | Pack-500 | 78
25 | 7.2.2- Povidone Iodine solution,5 liter | Gallon | 150
26 | 7.2.2- Sterile scalpel blade N/11 | Pack | 144
27 | 7.2.2- Stool test container | Pack-50pcs | 84
28 | 7.2.2- Tape - Umbilical | Pack - 12 piece | 90
29 | 7.2.2- Toxoplasmosis Ab test | Pkt-25 | 156
30 | 7.2.2- Umbilical cord clamp | pcs | 918
31 | 7.2.2- Urine test container | Pack-50PCs | 84
32 | 7.2.2- Woundplaster, adhesive, for cathater binding, zinc oxide, 10cmx5m | Pack/6PCs | 774
33 | 7.2.2- Vaseline Gauze Swab (paraffin Gauze)10*10 | 10 PCs/pack | 174
34 | 7.2.2- Thermal rolls, unprinted, 57 mm x 9 mx 12 mm | Roll | 540
NO# | Part B:Lab Reagents | UoM | Quantity | Country of Origin | Manufacturer (Brand) | Expiry Date | Bidder's additional Specification orSDeviations in Description or Package
35 | 7.2.2- Calcium Solution | Pack | 54
36 | 7.2.2- CBC reagent (diluent, lyse and cleen) (Sysmex) | Pack | 60
37 | 7.2.2- CBC reagent (diluent, lyse and cleen) (Nihok Hoden) | Pack | 18
38 | 7.2.2- CBC reagent (diluent, lyse, and clean) (Landwind) | Pack | 12
39 | 7.2.2- CBC reagent (diluent, lyse, and clean) (PKL PPC) | Pack | 18
40 | 7.2.2- Cholesterol Solution | Pack | 18
41 | 7.2.2- GOT solution | Bottle | 12
42 | 7.2.2- GPT solution | Bottle | 12
43 | 7.2.2- HCl Solution | bottle | 72
44 | 7.2.2- Tri-glyceride solution test | Bottle | 12
45 | 7.2.2- Uric acid solution test | Bottle | 18
Terms and Instructions
1 | The bidder should complete the table above, paying special attention to the columns for "Country of Origin" for all items, "Expiry Date," and "Deviations in Description or Package." if applicable. يجب على مقدم العرض إكمال الجدول أعلاه، مع إيلاء اهتمام خاص للأعمدة الخاصة بـ "بلد المنشأ" لجميع العناصر، و"تاريخ انتهاء الصلاحية"، و"الانحرافات في الوصف أو العبوة". إذا كان ذلك ضرورياً.
2 | The supplier should pay close attention to specific items, especially noting that lab reagents may require a cold chain(2-8°C) for both storage and transportation. يجب الأخذ في عين الاعتبار أن بعض المواد خاصة المحاليل المخبرية، قد تتطلب إجراءات تبريد (2-8°C)
3 | The expiry date should be at least one year for lab reagents and a minimum of two years for other medical supplies at the time of delivery . تواريخ الانتهاء للمواد المخبرية يجب أن لا تقل عن سنة، وسنتين بالنسبة للمستلزمات الطبية عند التسليم
4 | Photographs or catalogs of the material samples listed in the table must be attached and numbered according to the corresponding item number. يجب إرفاق صور /كتالوجات لعينات المواد المذكورة في الجدول مع ترقيمها بحسب رقم الصنف في الجدول.
5 | The items will not be distributed until after examining the samples to ensure conformity. Should any items distributed fail to match the approved samples, the supplier shall bear full responsibility for withdrawing the non-compliant goods from WH and replacing them at their own cost. لن يتم توزيع المواد إلا بعد فحص العينات للتأكد من مطابقتها في حال عدم مطابقة أي مواد موزعة للعينات المعتمدة، يتحمل المورد المسؤولية الكاملة عن سحب المواد غير المطابقة من المخازن واستبدالها على نفقته الخاصة
6 | The supplier is obligated to supply the goods within 15 days from the date of issuance of the purchase order. يلتزم المورد بالتوريد خلال 15 يوما من إصدار أمر الشراء.
7 | All products must be authorized and registered with the respective official authority (SBDMA). يجب أن تكون جميع المنتجات مرخصة ومسجلة لدى السلطة الرسمية المختصة (الهيئة العليا للأدوية والمستلزمات الطبية)
8 | Provide at least copies of three recent contracts for medical supplies and lab reagents. لاثبات الخبرة يجب إرفاق على الأقل ثلاثة عقود حديثة لتوريد مواد مخبرية ومستلزمات طبية
9 | Provide at least three references from current or previuos clients. Attach the references information to the Technical Offer by filing out the table below, لإثبات الخبرة يجب إرفاق معلومات اتصال عن ثلاثة مراجع تعاملتم معهم في مجال توريد مستلزمات طبية‘ ضع هذه المعلومات في الجدول أدناه
# | Reference Name | Organisation | Email |  |  |  | Mobile
1
2
3
4
5
Official Name Of Supplier:
Name of the authorized Representative of Supplier:
Signature& Stamp: