## BOQs Price Sheet
Annex A- BOQs unit/total prices نموذج عرض المالي جدول الكميات بحسب الوحدة إجمالي
| Tender No: ADRA-YEMA II- 0273 -2024 |  |  |  |  | Date التاريخ
Name of supplier: اسم المورد
No | # | Scientific Name | UNIT | Qty. | Brand/ Model | Unit Price (USD) | Total Price (USD) | Remarks
1 | 1 | Electric Blood Bag Tube Sealer | Device | 1
2 | 2 | Blood Bank Refrigerator | Device | 1
3 | 3 | Cardio Tocogragh CTG, with All Accessories | Device | 1
4 | 4 | Centrifuge Tabletop | Device | 1
5 | 5 | Diagnostic Set (ENT) Otoscope & Ophthalmoscope | Device | 4
6 | 6 | Fetoscope - Audio Fetal Doppler | Device | 2
7 | 7 | Defibrillator With ECG Monitor | Device | 1
8 | 8 | Digital Glucometer | Device | 6
9 | 9 | Gynecological Delivery Bed ( Hydraulic Type) | Device | 2
10 | 10 | Patient Bed Three Sections With Locker, Bedside and Over Bed Table | Device | 23
11 | 11 | Infusion Pump W/Holder | Device | 3
12 | 12 | Laboratory Refrigerator | Device | 4
13 | 13 | Laryngoscopes Adult - Pediatric | Device | 8
14 | 14 | Ultrasonic Nebulizer Portable | Device | 3
15 | 15 | Syringe & Needle Destroyer | Device | 12
16 | 16 | Oxygen Cylinder 40L With Oxygen Regulator, Humidifier and Trolley | Device | 8
17 | 17 | Patient Monitor With Holder | Device | 2
18 | 18 | Semi Auto Coagulation Analyzer | Device | 2
19 | 19 | Sphygmomanometer - Mercury 300 mm With Cuffs | Device | 17
20 | 20 | Bench Top Steam Sterilizer With Drayer | Device | 4
21 | 21 | Mobile Electric Suction Machine 2X2 L | Device | 3
22 | 22 | Syring Pump W/Holder | Device | 3
23 | 23 | Oxygen Regulator and Humidifier | Device | 16
24 | 24 | Laboratory Microscope Binocular | Device | 3
25 | 25 | Water Bath | Device | 1
26 | 26 | Oxygen Cylinder 10L With Oxygen Regulator, Humidifier and Trolley | Device | 8
27 | 27 | X-Ray Viewer | Device | 17
28 | 28 | Electrolyte Analyser | Device | 1
29 | 29 | Ambu Bag Resuscitation Set (Infant) | Device | 8
30 | 30 | Ambu Bag / Resuscitation Set (Child) | Device | 8
31 | 31 | Ambu Bag Resuscitation Set (Adult) | Device | 8
32 | 32 | Hand Held Pulse Oximeter | Device | 5
33 | 33 | Delivery Set , Forceps | Device | 4
34 | 34 | Ceasarian Surgical Set | Device | 2
35 | 35 | General Purpose Ultrasonic Scanner Color Doppler | Device | 2
36 | 36 | Suture Instruments and Dressing Set | Device | 3
37 | 37 | Large Dressing Set | Device | 3
38 | 38 | Dressing Trolley | Device | 19
39 | 39 | Stand Drip IV | Device | 50
40 | 40 | Ward Screen 4 Sections | Device | 25
41 | 41 | Blood Bank Plasma Deep Freezer (-40 °C) | Device | 2
42 | 42 | Platelets Incubator with Agitator | Device | 2
43 | 43 | Stethoscope Binaural Bowels Stainless Steel | Device | 10
44 | 44 | Thermometer Digital | Device | 10
45 | 45 | Thyroid Surgery Instruments Set | Device | 3
46 | 46 | Scale for Adult with Height Measurement | Device | 3
47 | 47 | Lamp, Examination Mobile Complete /Emergency | Device | 5
48 | 48 | Torch Pen Light For Examination | Device | 15
49 | 49 | Oxygen Two Stage Regulators | Device | 2
50 | 50 | Tonsillectomy Instruments Set | Device | 1
51 | 51 | Vaginal Speculum Set | Device | 4
52 | 52 | Patient Stretcher | Device | 6
53 | 53 | Semi Automated Biochemistry Analyzer | Device | 1
54 | 54 | Blood Bank Refrigerated Centrifuge | Device | 2
Total (USD): الإجمالي
| Company Name: اسم الشركة |  |  |  |  | Signature & Stamp : التوقيع و الختم
Name of Representative: اسم ممثل الشركة
Title: الوظيفة
Date: التاريخ